Tips on using an Interferential device

The following guidelines are tips on using the IF 4000 device.  Please consult your physician for complete instructions. Please note: the settings on an IF device are very subjective, so you will want to try a variety of setting to figure out what works best.  When making an adjustment, try to keep every other variable constant.

IF 4000 Set-up:

- Plug the wall adapter into the wall and into the device.

- Set the pole selection: 1 pole is two pads, 2 pole is four pads. The bi-pole selection will give 36 volts of output, whereas the quad-pole selection will give 28 volts of output.

- Adjust the pulse rate dial, which controls the pulses per second of each electrical burst, according to the amount of stimulation required.  For dense tissue areas such as the back, the rate (Hz) can be set higher than if treating an area such as the knee or elbow.

Correspondingly, frequencies which vary from approximately 80Hz to 120Hz are considered most effective for acute pain while lower frequencies of perhaps 3Hz to 5Hz or 2Hz to 10Hz are preferred for the treatment of chronic pain

- Select a sweep (interference) period.  Four switches located below pole selector.  Please note: there is a very slight distinction between the sweep periods, however the “below the surface” effect is quite substantial.  These selections determine the true interference and produce the therapeutic outcome.

- Wash the skin area gently with water and dry thoroughly (placement site).

- Connect the lead wires into the electrodes.  Try to use both channels (4 pads) for polarity reasons.

- Be sure the device is turned off before connecting the lead wires to the electrodes.

- Place the electrodes—at least 2 inches apart—but not further than 4 inches.

- Place the electrodes on the densest part of the muscle.  This will ensure contact with the motor-nerve point.

- Attach the lead wires following manufacturer’s specific instructions to the device.

- Set the intensity knobs (up top) to a level that is strong (intense), but comfortable.  Interferential therapy provides a comfortable, soothing stimulation and should never be strong enough to cause any discomfort to the patient. Higher intensities should not be considered "better" as far as obtaining results. It is important to note that once the patients comfort level is established at the onset of therapy, the intensity should not be increased during the treatment. This could cause over stimulation of the tissue and even minor burns, particularly when treating with a unit that produces "true interferential" due to the Widensky inhibition effect.

- Treatment times: when treating acute pain with the 80Hz to 120Hz setting, interferential therapy will provide a release of enkephalin with a treatment time of 10 to 12 minutes. Chronic pain, however, requires 15 to 20 minutes of the 3Hz to 15Hz setting to provide release of beta-endorphins. Nerve block techniques, 4000Hz, normally require 10 minutes or more depending upon the size of the area being treated.

- The IF device is not meant to be portable, however you can utilize the battery compartment if needed.

After using the interferential unit

- Before turning off the IF device, record the location of the electrodes, the settings of all controls, and your progress in reducing pain.

- Turn the intensity controls to off. Unplug the lead wires, grasping the plug, not the cord.

- Remove the electrodes by carefully peeling them off. Clean the skin and the electrodes thoroughly with water dry and place back in air-tight package.

Do . . .

- Remove the electrodes and discontinue stimulation if you experience skin irritation.

- Contact your clinician with any questions.

- Keep the IF device clean.

- Clean the lead wires with only water and mild soap.

- Turn the intensity knobs to off before replacing the battery.

- Use only manufacturer’s recommended electrodes, tape, patches, lead wires, and electrode gels.

Don’t . . .

- Use rubbing alcohol to decrease excessive oiliness of the skin, use a clean-cote™ wipe.

- Use rubbing alcohol, Freon, or any other solvent on the lead wires as these materials will cause the lead wires to lose their flexibility and significantly reduce their effectiveness.

- Drop, bump, or use the unit roughly.

- Get the device wet. (A damp cloth can be used to clean the exterior of the unit.)

- Pull or kink the lead wires.

- Use the unit while operating a motor vehicle.

- Use the device while operating machinery such as power tools.

- Allow electrodes to touch each other during stimulation or improper stimulation. This will shorten the life of the battery.